RAID, Replication, and You
data storage and safekeeping
save it, keep it, serve it, back it up
These slides are © 2014 Jim Salter, with license Creative Commons Attribution-ShareAlike 3.0 unported. http://creativecommons.org/licenses/by-sa/3.0/deed.en_US

---
First of all: Who?
Jim Salter
Technomancer,
Mercenary Sysadmin,
Small Business Owner
6+ years of ZFS in production
6+ [units of time] of btrfs in test
Today's slides can be found at:
http://jrs-s.net/presentations/raid-replication-you/

---
RAID Subsystems
Isn't that just a “hardware thing?”
I heard “software RAID” sucks!
GTFO, I need PERFORMANCE.

---
Yes, Performance.
1.4 GB/sec mixed R/W workload on commodity hardware... well OK!
1059.1 MB/sec read
351.9 MB/sec write

---
Features
oh, so many features
Btrfs-raid1: n/2 redundancy over arbitrary size and number of devices THIS IS A REALLY AMAZINGLY BIG DEAL. (Microsoft ReFS can do this too) / Atomic COW snapshots (lol) / N-way diagonal parity RAID, n-way mirrors / Per-file, per-folder, per-dataset feature granularity (compression, noCOW, etc) / On-the-fly reconfiguration of RAID levels, size, rebalancing (btrfs only, another REALLY BIG DEAL kind of thing) / Asynchronous incremental remote snapshot replication (Except ReFS, so GTFO ReFS. Sorry Microsoft)

---
Why integrated?
What can't hardware RAID do for me? Why not separate layers?
Self-healing redundant arrays / Stable, well-documented, reliable interface / Stable, well-documented, configurable, reliable error detection and correction / Commodity HW: performance++, price --

---
Visualizing RAID
prepare your eyeballs

---
Traditional RAID0
“Hey I'll just stripe across ALL the disks LOL”

---
Traditional RAID1
boooooooring >=[
Mirror. Identical drives. Yay.

---
Traditional RAID1
boooooooring >=[
Mirror. Identical drives. Yay.

---
Traditional RAID5
pros: storage efficiency cons: everything else
Diagonal Parity RAID, 1 parity block

---
Traditional RAID6
pros: guaranteed two-drive failure survival cons: everything else
Diagonal Parity RAID, 2 parity blocks

---
Traditional RAID10
RAID + RAID = moar RAID
Survives ALL single disk failures Survives MOST two disk failures: (n-2)/(n-1) = 80% survival / Very High Performance

---
btrfs-raid1
omg so awesome you guys =)
So you have a bunch of drives...

---
btrfs-raid1
omg so awesome you guys =)
obviously, btrfs-raid1 != RAID1

---
btrfs-raid1
omg so awesome you guys =)
o hai expandability izzat you?

---
btrfs-raid1
omg so awesome you guys =)
yes admin, expandability here

---
btrfs-raid1
omg so awesome you guys =)
all full boss (well, mostly)

---
Replication
your backups suck. so much. lern 2 replicate ok

---
WWW (^_^)
What is “asynchronous filesystem replication”?
Which filesystems can do this?
Why is replication better than rsync?

---
What
does “asynchronous filesystem replication” mean?
You take a snapshot, copy it, and apply it on another system / Block-level replication / Differential replication == awesome / Doesn't directly know or care about files, folders, or anything else. This is a feature, not a bug!

---
Which
filesystems can asynchronously replicate?

---
Why
do I really care about this stuff?
Preserve ALL the metadata! / Preserve snapshots, hardlinks, data deduplication, compression, encryption... / Faster... sometimes much, much faster / Much, much less load on the system

---
Why not rsync?
rsync is an amazing tool, but...
If you rename a file, rsync copies it as new / If you rename a folder, rsync copies it and everything beneath it as new / If you change a file, rsync can propagate only the changed data... but it has to read and tokenize every single block on both ends in order to do so. Hello, system load! / rsync can't handle snapshots, has trouble with hard links, doesn't know about subvolumes... / You can rsync 1MB of changes in a 1TB file in about 10 hours. You can replicate them in < 10 seconds.

---
Sounds good but...
me@remotebackup:~$ grep zfsync /var/log/syslog.1 / Mar 29 22:34:26 remotebackup zfsync[22852]: SUCCESS: Updated backup/images from @zfsync_remotebackup_2014-03-28:22:00:01 to @zfsync_remotebackup_2014-03-29:22:00:01 (2.2 GB transferred, 34m 25s elapsed) / me@remotebackup:~$ du -hs /backup/images / 2.0T /backup/images

---
In a Nutshell
ZFS replication looks like this...
you@box1:~$ sudo zfs create zpool/filesystem / you@box1:~$ [[put all your precious datas in the new filesystem]] / you@box1:~$ sudo zfs snapshot zpool/filesystem@1 / you@box2:~$ ssh root@box1 zfs send zpool/filesystem@1 | sudo zfs receive zpool/filesystem / you@box1:~$ [[put more precious datas in the filesystem]] / you@box1:~$ sudo zfs snapshot zpool/filesystem@2 / you@box2:~$ sudo zfs rollback zpool/filesystem@1 you@box2:~$ ssh root@box1 zfs send -i zpool/filesystem@1 zpool/filesystem@2 | sudo zfs receive zpool/filesystem

---
The Bottom Line
What was once enterprise is now small business.
If it can't protect my data, I don't want it.
If it can't replicate off-site, I don't want it.
Evolve, adapt, or die. ^_^
Today's slides can be found at:
http://jrs-s.net/presentations/raid-replication-you/